Noise and Pedestal Readout waveforms.

These waveforms  are all taken at test points within the VATAC. Conditions of note: test off in asic mask download screen, cal pulse disabled in oscilloscope mode, trig source –internal, continuous in pedestal screen.   Note – after quitting pedestal screen the continuous mode keeps running!!  I found the only way to stop this so far is to quit the program!  Take care on some of the x/y axis per division settings – some are “non-standard” values.  Traces that look a little noisy have persistence mode on to highlight narrow pulses on a long timebase.

No activity was recorded on:	J44 (CLKIN)	J45 (REGIN)

Figure 1 J32/J33 (CKB/CK)  - 1

Figure 2 J32/J33 (CKB/CK)  - 2

Figure 3 J32/J33 (CKB/CK)  - 3

Figure 4 J32/J33 (CKB/CK)  - 4

Figure 5 J32/J36 (CKB/DRESETB)  - 1

Figure 6 J32/J36 (CKB/DRESETB)  - 2

Figure 7 J32/J36 (CKB/DRESETB)  - 3

Figure 8 J32/J37 (CKB/DRESET)  - 1

Figure 9 J32/J37 (CKB/DRESET)  - 2

Figure 10 J32/J37 (CKB/DRESET)  - 3

Figure 11 J32/J38 (CKB/HOLD)  - 1

Figure 12 J32/J38 (CKB/HOLD)  - 2

Figure 13 J32/J38 (CKB/HOLD)  - 3 Just to see the glitch on the hold caused by the clock.

Figure 14 J32/J38 (CKB/HOLD)  - 4

Figure 15 J32/J39 (CKB/HOLDB)  - 1

Figure 16 J32/J39 (CKB/HOLDB)  - 2

Figure 17 J32/J39 (CKB/HOLDB)  - 3

Figure 18 J32/U30P14 (CKB/SHIFTOUTB)  - 1

Figure 19 J32/U30P14 (CKB/SHIFTOUTB)  - 2

Figure 20 J34/U30P14 (SHIFTIN/SHIFTOUTB)  - 1

Figure 21 J34/U30P14 (SHIFTIN/SHIFTOUTB)  - 2

Figure 22 J34(SHIFTIN) /ANALOG OUT LEMO – 1

Figure 23 J34(SHIFTIN) /ANALOG OUT LEMO – 2

Figure 24 J34/J32 (SHIFTIN/CKB)  - 1

Figure 25 J34/J32 (SHIFTIN/CKB)  - 2

Figure 26 J34/J35 (SHIFTIN/SHIFTINB)  - 1

Figure 27 J34/J35 (SHIFTIN/SHIFTINB)  - 2

Figure 28 U30P2 (REGOUT)